## Summary
Container studios - bill of materials | rev A 2026-10-26 | PRELIMINARY
Prices labelled A are placeholders (AS-21): three quotes per line before buying.
category | per unit RWF | three units RWF
roof kit | 3790436 | 11371308
labour | 2090000 | 6270000
boards | 1207800 | 3623400
plumbing | 883720 | 2651160
sanitaryware | 875000 | 2625000
electrical | 739350 | 2218050
finishes | 621800 | 1865400
appliances | 605000 | 1815000
furnishing | 545000 | 1635000
wet walls | 454000 | 1362000
insulation | 398730 | 1196190
steel | 395000 | 1185000
glazing | 265000 | 795000
bedding | 180000 | 540000
hardware | 170273 | 510819
safety | 95000 | 285000
doors | 90000 | 270000
roofing | 90000 | 270000
timber | 66000 | 198000
accessories | 40000 | 120000
shared site works (all three) |  | 4856000
contingency 15 % | 2040316 | 6849349
TOTAL | 15642425 | 52511676
USD at BNR 1,475.91 (2026-10-23, STU-36) |  | 35579

## BOM per unit
kit | category | trade | item | qty | unit | unit price | label | source | total | note
K1-K7 | boards | carpentry | MPLY18 sheet 2440x1220x18 | 3 | sheet | 60000 | A | AS-21 | 180000 | 18 mm marine / WBP plywood (STU-31 lists film-faced)
K1-K7 | boards | carpentry | PLY12 sheet 2440x1220x12 | 15 | sheet | 35000 | A | AS-21 | 525000 | 12 mm plywood
K1-K7 | boards | carpentry | PLY18 sheet 2440x1220x18 | 8 | sheet | 45000 | A | AS-21 | 360000 | 18 mm plywood or MR melamine board, 2440 x 1220
K1-K7 | boards | carpentry | WTOP38 sheet 3050x650x38 | 1 | sheet | 90000 | A | AS-21 | 90000 | 38 mm worktop blank 3000 x 620
K1-K7 | boards | carpentry | ABS edge band (2 mm visible, 0.8 mm hidden) | 88 | m | 600 | A | AS-21 | 52800 | ABS edge band, per metre
K2-K7 | hardware | carpentry | Bag A: Confirmat screw 7 x 50 | 37.8 | each | 60 | A | AS-21 | 2268
K2-K7 | hardware | carpentry | Bag B: Wood dowel 8 x 35 | 25.2 | each | 20 | A | AS-21 | 504
K2-K7 | hardware | carpentry | Bag C: Connector bolt M6 x 60 + barrel nut 10 mm | 31.5 | each | 600 | A | AS-21 | 18900
K2-K7 | hardware | carpentry | Bag D: Cup hinge 35 mm soft-close + plate | 10.5 | each | 2500 | A | AS-21 | 26250
K2-K7 | hardware | carpentry | Bag E: Shelf pin 5 mm | 12.6 | each | 30 | A | AS-21 | 378
K2-K7 | hardware | carpentry | Bag F: Wood screw 4 x 30 | 298.2 | each | 15 | A | AS-21 | 4473
K2-K7 | hardware | carpentry | Bag G: Ball-bearing runner 450 mm (pair) | 2.1 | each | 9000 | A | AS-21 | 18900 | per pair
K2-K7 | hardware | carpentry | Bag J: Handle 128 mm centres | 7.35 | each | 2000 | A | AS-21 | 14700
K2-K7 | hardware | carpentry | Bag K: Castor 50 mm | 8.4 | each | 1500 | A | AS-21 | 12600
K2-K7 | hardware | carpentry | Bag L: Self-drilling screw 4.8 x 38 (battens to steel) | 126 | each | 50 | A | AS-21 | 6300
K11 | roof kit | welding | Fabricated steel: beams, joists, posts, rails, treads (painted) | 728.96 | kg | 2600 | A | AS-21 | 1895287 | fabricated, painted steel per kg
K11 | roof kit | carpentry | Treated hardwood: deck boards, top rail, chairs, side table | 0.69 | m3 | 900000 | A | AS-21 | 618192 | treated hardwood decking and slats per m3
K11 | roof kit | welding | Tinted multiwall polycarbonate 10 mm (front deck canopy) | 11.33 | m2 | 28000 | A | AS-21 | 317197 | tinted multiwall polycarbonate per m2 (supplier not found)
K11 | roof kit | welding | Guardrail cable infill: 4 mm stainless, 10 runs, with tensioners | 169.92 | m | 3000 | A | AS-21 | 509760 | 4 mm stainless wire rope + tensioners, per m
K11 | roof kit | welding | Stair stringers, handrails and footings | 1 | set | 450000 | A | AS-21 | 450000 | stringers, handrails, footings
K1 | insulation | carpentry | EPS insulation, back | 13.47 | m2 | 9000 | A | AS-21 | 121230 | EPS 40 mm per m2 (STU-19 lists sizes, no prices)
K1 | insulation | carpentry | EPS insulation, front-A | 3.21 | m2 | 9000 | A | AS-21 | 28890 | EPS 40 mm per m2 (STU-19 lists sizes, no prices)
K1 | insulation | carpentry | EPS insulation, ceiling | 13.06 | m2 | 9000 | A | AS-21 | 117540 | EPS 40 mm per m2 (STU-19 lists sizes, no prices)
K1 | insulation | carpentry | EPS insulation, end-A | 5.23 | m2 | 9000 | A | AS-21 | 47070 | EPS 40 mm per m2 (STU-19 lists sizes, no prices)
K1 | insulation | carpentry | PU foam adhesive and gap filler (750 ml) | 12 | each | 7000 | A | AS-21 | 84000
K1 | finishes | painting | Primer + 100%-solids epoxy floor seal | 14 | m2 | 12000 | A | AS-21 | 168000 | per m2
K1 | finishes | carpentry | SPC flooring 5 mm, natural oak decor without knots, + underlay (living area) | 11.1 | m2 | 18000 | A | AS-21 | 199800 | per m2
K1 | finishes | painting | Rust converter + zinc primer for steel | 4 | L | 8000 | A | AS-21 | 32000 | per L
K1 | finishes | painting | Vapour-retarding primer + off-white paint for the linings | 10 | L | 9000 | A | AS-21 | 90000 | per L
K2 | doors | carpentry | Door leaf 564 x 2,030, moisture-resistant, opens into the bathroom, privacy lock | 1 | each | 90000 | A | AS-21 | 90000
K2 | wet walls | tiling | Cement board 12 mm + liquid membrane, back wall | 2.67 | m2 | 14000 | A | AS-21 | 37380 | per m2 incl. membrane
K2 | wet walls | tiling | Wall tiles + adhesive + grout, back wall | 2.94 | m2 | 16000 | A | AS-21 | 47040 | per m2 incl. adhesive and grout
K2 | wet walls | tiling | Cement board 12 mm + liquid membrane, end wall B, built out 30 mm over the concealed WC cistern (stud wall inside the cargo doors) | 3.95 | m2 | 14000 | A | AS-21 | 55300 | per m2 incl. membrane
K2 | wet walls | tiling | Wall tiles + adhesive + grout, end wall B, built out 30 mm over the concealed WC cistern (stud wall inside the cargo doors) | 4.35 | m2 | 16000 | A | AS-21 | 69600 | per m2 incl. adhesive and grout
K2 | wet walls | tiling | Cement board 12 mm + liquid membrane, partition, bath face | 3.95 | m2 | 14000 | A | AS-21 | 55300 | per m2 incl. membrane
K2 | wet walls | tiling | Wall tiles + adhesive + grout, partition, bath face | 4.35 | m2 | 16000 | A | AS-21 | 69600 | per m2 incl. adhesive and grout
K2 | wet walls | tiling | Cement board 12 mm + liquid membrane, cross wall, bath face | 2.67 | m2 | 14000 | A | AS-21 | 37380 | per m2 incl. membrane
K2 | wet walls | tiling | Wall tiles + adhesive + grout, cross wall, bath face | 2.94 | m2 | 16000 | A | AS-21 | 47040 | per m2 incl. adhesive and grout
K2 | wet walls | tiling | Cement board 12 mm + liquid membrane, splashback behind the basin (end wall B, wash lobby) | 1.12 | m2 | 14000 | A | AS-21 | 15680 | per m2 incl. membrane
K2 | wet walls | tiling | Wall tiles + adhesive + grout, splashback behind the basin (end wall B, wash lobby) | 1.23 | m2 | 16000 | A | AS-21 | 19680 | per m2 incl. adhesive and grout
K2 | finishes | tiling | Safety vinyl sheet, coved 100 mm up the walls (bathroom and wash lobby) | 3.2 | m2 | 15000 | A | AS-21 | 48000 | per m2
K2 | sanitaryware | plumbing | Shower tray 1000 x 900, low profile, 90 mm waste | 1 | each | 120000 | A | AS-21 | 120000
K2 | sanitaryware | plumbing | Fixed glass shower screen 700 x 2,000, 8 mm toughened | 1 | each | 180000 | A | AS-21 | 180000
K2 | sanitaryware | plumbing | Wall-hung WC, short projection (520), soft-close seat | 1 | each | 150000 | A | AS-21 | 150000
K2 | sanitaryware | plumbing | Slim concealed cistern frame (80 mm) with dual-flush plate, in the end-B stud wall and its 30 mm build-out | 1 | set | 220000 | A | AS-21 | 220000 | slim concealed cistern frame + dual-flush plate
K2 | sanitaryware | plumbing | Wall basin 400 x 300 + mixer + bottle trap (wash lobby) | 1 | each | 90000 | A | AS-21 | 90000
K2 | glazing | carpentry | Mirror 4 mm bonded to the cabinet door | 1 | each | 25000 | A | AS-21 | 25000
K2 | accessories | carpentry | Towel rail, robe hook, toilet-roll holder, shower shelf | 1 | set | 40000 | A | AS-21 | 40000
K3 | hardware | carpentry | Hob base adjustable legs | 4 | each | 1500 | A | AS-21 | 6000
K3 | hardware | carpentry | Sink base adjustable legs | 4 | each | 1500 | A | AS-21 | 6000
K3 | appliances | electrical | Two-zone induction hob, 300 mm domino, about 3.5 kW | 1 | each | 250000 | A | AS-21 | 250000 | 2-zone induction domino
K3 | sanitaryware | plumbing | Inset stainless sink 430 x 400, single bowl | 1 | each | 70000 | A | AS-21 | 70000
K3 | sanitaryware | plumbing | Kitchen mixer tap | 1 | each | 45000 | A | AS-21 | 45000
K3 | appliances | electrical | Under-counter fridge about 90 L (A-class) | 1 | each | 265000 | V | STU-P03 | 265000 | 90 L mini fridge, Kanis 2026-10-26
K3 | appliances | electrical | Recirculating hood 300-450 mm, charcoal filter | 1 | each | 90000 | A | AS-21 | 90000
K3 | plumbing | plumbing | Under-sink drinking-water filter + faucet | 1 | each | 80000 | A | AS-21 | 80000
K4 | bedding | furnishing | Mattress up to 1,600 x 2,000 (local size, e.g. 5 x 6 ft), 200 mm | 1 | each | 180000 | A | AS-21 | 180000 | local foam, size to field-check (STU-51)
K5 | furnishing | furnishing | Table lamp, linen drum shade, LED E27 (reading lamp) | 1 | each | 35000 | A | AS-21 | 35000 | table lamp with linen shade, LED bulb
K5 | hardware | carpentry | Coat hooks, hanging rail by the door and a folding luggage rack | 1 | set | 8000 | A | AS-21 | 8000
K6 | furnishing | furnishing | Low two-seat sofa about 1300 x 750, 700 high, soft dark grey washable covers | 1 | each | 450000 | A | AS-21 | 450000 | compact two-seat sofa, washable covers
K6 | furnishing | furnishing | Blackout curtain + track for the 3 m slider | 1 | set | 60000 | A | AS-21 | 60000
K6 | glazing | glazier | Insect screens: slider (sliding), W1, vents | 1 | set | 90000 | A | AS-21 | 90000
K7 | finishes | painting | Joinery finish: medium-oak stain + clear matte PU varnish over pine (all furniture) | 6 | L | 14000 | A | AS-21 | 84000 | medium-oak stain + clear matte PU varnish for pine, per L
K8 | electrical | electrical | Unit board on the back wall by the galley | 1 | each | 45000 | A | AS-21 | 45000 | enclosure, 12 ways
K8 | electrical | electrical | Ceiling light, bed | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Ceiling light, living | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Ceiling light, galley | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Bathroom light IP65 | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Wall reading light over the bed (wall side) | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Under-cabinet LED strip | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Deck light IP65 | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Roof terrace lights IP65 (x2) | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Stair light IP65 | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Entry: living + kitchen + deck | 1 | each | 3500 | A | AS-21 | 3500
K8 | electrical | electrical | Bed: ceiling light (2-way), over the bedside table | 1 | each | 3500 | A | AS-21 | 3500
K8 | electrical | electrical | Bathroom light + fan (outside) | 1 | each | 3500 | A | AS-21 | 3500
K8 | electrical | electrical | Roof and stair lights (IP65, stair foot) | 1 | each | 3500 | A | AS-21 | 3500
K8 | electrical | electrical | Socket + USB-C in the headboard (wall side) | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Bedside socket + USB-C (reading lamp) | 1 | each | 15000 | A | AS-21 | 15000
K8 | electrical | electrical | Socket by the sofa | 1 | each | 5000 | A | AS-21 | 5000
K8 | electrical | electrical | Socket, living (front strip) | 1 | each | 5000 | A | AS-21 | 5000
K8 | electrical | electrical | Deck socket IP66 | 1 | each | 5000 | A | AS-21 | 5000
K8 | electrical | electrical | Worktop socket 1 (double) | 1 | each | 5000 | A | AS-21 | 5000
K8 | electrical | electrical | Worktop socket 2 (double, back wall) | 1 | each | 5000 | A | AS-21 | 5000
K8 | electrical | electrical | Fridge socket | 1 | each | 5000 | A | AS-21 | 5000
K8 | electrical | electrical | Hob connection unit | 1 | each | 9000 | A | AS-21 | 9000
K8 | electrical | electrical | Heater DP switch + timer | 1 | each | 9000 | A | AS-21 | 9000
K8 | electrical | electrical | Bathroom extract 100 mm (one 110 mm hole in the back wall) | 1 | each | 35000 | A | AS-21 | 35000
K8 | electrical | electrical | Wall fan | 1 | each | 35000 | A | AS-21 | 35000
K8 | electrical | electrical | AC provision: isolator | 1 | each | 9000 | A | AS-21 | 9000
K8 | electrical | electrical | Cable 1.5 mm2 T+E/singles in conduit, Lighting (incl. bathroom IP65, deck, roof, stair) | 85 | m | 500 | A | AS-21 | 42500 | per m
K8 | electrical | electrical | Cable 2.5 mm2 T+E/singles in conduit, Sockets: bedside USB, living, deck | 30 | m | 750 | A | AS-21 | 22500 | per m
K8 | electrical | electrical | Cable 2.5 mm2 T+E/singles in conduit, Kitchen sockets and fridge | 13 | m | 750 | A | AS-21 | 9750 | per m
K8 | electrical | electrical | Cable 4.0 mm2 T+E/singles in conduit, Induction hob | 8 | m | 1200 | A | AS-21 | 9600 | per m
K8 | electrical | electrical | Cable 2.5 mm2 T+E/singles in conduit, 80 L water heater | 7 | m | 750 | A | AS-21 | 5250 | per m
K8 | electrical | electrical | Cable 1.5 mm2 T+E/singles in conduit, Extract fan and wall fan | 9 | m | 500 | A | AS-21 | 4500 | per m
K8 | electrical | electrical | Cable 2.5 mm2 T+E/singles in conduit, AC provision | 7 | m | 750 | A | AS-21 | 5250 | per m
K8 | electrical | electrical | PVC conduit 20 mm + boxes | 60 | m | 600 | A | AS-21 | 36000 | per m
K8 | electrical | electrical | Surge protection device type 2 | 1 | each | 60000 | A | AS-21 | 60000
K8 | electrical | electrical | RCD 40 A 30 mA type A (or RCBOs) | 1 | each | 45000 | A | AS-21 | 45000
K8 | electrical | electrical | MCBs (B6 x2, B16 x5, B20 x1) | 8 | each | 6000 | A | AS-21 | 48000
K8 | electrical | electrical | Main switch 40 A DP + check meter (DIN kWh) | 1 | set | 40000 | A | AS-21 | 40000
K8 | electrical | electrical | Earth rod 1.5 m copper-bonded + clamp + inspection pit | 1 | each | 35000 | A | AS-21 | 35000
K8 | safety | electrical | Smoke alarm (10-year) + heat alarm (kitchen) | 2 | each | 20000 | A | AS-21 | 40000
K8 | safety | furnishing | Fire extinguisher 2 kg ABC + fire blanket | 1 | set | 55000 | A | AS-21 | 55000
K9 | plumbing | plumbing | PPR PN20 pipe DN20 | 9.1 | m | 2000 | A | AS-21 | 18200 | per m
K9 | plumbing | plumbing | PPR PN20 pipe DN25 | 4.4 | m | 2800 | A | AS-21 | 12320 | per m
K9 | plumbing | plumbing | PPR PN20 pipe (hot) DN20 | 4.5 | m | 2000 | A | AS-21 | 9000 | per m
K9 | plumbing | plumbing | uPVC soil pipe DN110 | 2.7 | m | 7000 | A | AS-21 | 18900 | per m
K9 | plumbing | plumbing | PPR PN20 pipe (tempered) DN20 | 6 | m | 2000 | A | AS-21 | 12000 | per m
K9 | plumbing | plumbing | uPVC vent pipe DN75 | 7.9 | m | 4500 | A | AS-21 | 35550 | per m
K9 | plumbing | plumbing | uPVC waste pipe DN40 | 2.5 | m | 2500 | A | AS-21 | 6250 | per m
K9 | plumbing | plumbing | uPVC waste pipe DN50 | 5.5 | m | 3000 | A | AS-21 | 16500 | per m
K9 | plumbing | plumbing | Pipe fittings and clips (allowance) | 1 | set | 120000 | A | AS-21 | 120000
K9 | plumbing | plumbing | Thermostatic mixing valve (TMV) 41-44 C | 1 | each | 60000 | A | AS-21 | 60000
K9 | plumbing | plumbing | Thermostatic shower valve + 6-7 L/min head + rail | 1 | set | 90000 | A | AS-21 | 90000
K9 | plumbing | plumbing | Electric storage water heater 80 L, 2 kW, with T&P valve | 1 | each | 300000 | A | AS-21 | 300000 | 80 L not found; 50 L listed at RWF 144,000-252,000 (STU-P01, STU-P02)
K9 | plumbing | plumbing | Angle valves with filters | 5 | each | 6000 | A | AS-21 | 30000
K9 | plumbing | plumbing | Air admittance valve 110 mm (spare) + rodding eyes | 1 | set | 30000 | A | AS-21 | 30000
K9 | plumbing | plumbing | Stop valve + Y-filter + check water meter | 1 | set | 45000 | A | AS-21 | 45000
K10 | steel | welding | W1 infill: 2 mm steel + 40 mm EPS, welded into the old door frame (0-1,150) | 1 | each | 180000 | A | AS-21 | 180000 | incl. welding
K10 | glazing | glazier | W1 obscure louvre window 520 x 890 + insect mesh (wash lobby) | 1 | each | 120000 | A | AS-21 | 120000
K10 | steel | welding | Seal and lock the end-B cargo doors (weld tabs, sealant) | 1 | each | 60000 | A | AS-21 | 60000
K10 | steel | masonry | Level the corner castings: concrete pads or steel shims (rock corner) | 4 | each | 25000 | A | AS-21 | 100000
K10 | steel | welding | Steel hanging rail for wall units + heater bracket | 1 | set | 40000 | A | AS-21 | 40000
K10 | hardware | glazier | Keyed lock + secondary bolt for the slider | 1 | set | 45000 | A | AS-21 | 45000
K10 | glazing | glazier | Louvred trickle-vent strip with mesh (10,000 mm2) | 1 | each | 30000 | A | AS-21 | 30000
K10 | steel | welding | AC wall sleeve 75 mm (provision, back wall, one hole) | 1 | each | 15000 | A | AS-21 | 15000
K11 | roofing | welding | Gutter + downpipe to the rainwater tank (deck canopy) | 1 | set | 90000 | A | AS-21 | 90000
K11 | electrical | electrical | Bonding: 16 mm2 green-yellow from the frame to the earth bar | 1 | set | 25000 | A | AS-21 | 25000
K1 | timber | carpentry | Battens 38 x 50 treated, 2.4 m | 19.8 | each | 2500 | A | AS-21 | 49500 | 38 x 50 treated, 2.4 m
K2 | timber | carpentry | Studs 40 x 40 treated, 2.4 m | 5.5 | each | 3000 | A | AS-21 | 16500 | 40 x 40, 2.4 m
labour | labour |  | Carpentry workshop: cutting, edging, drilling, labelling (per unit kit) | 1 | lot | 450000 | A | AS-21 | 450000
labour | labour |  | Site carpentry and assembly: 2 people x 8 days | 1 | lot | 320000 | A | AS-21 | 320000
labour | labour |  | Electrician (RURA class A), install + certificate | 1 | lot | 250000 | A | AS-21 | 250000
labour | labour |  | Plumber, install + tests | 1 | lot | 200000 | A | AS-21 | 200000
labour | labour |  | Tiler: wet walls and floor | 1 | lot | 150000 | A | AS-21 | 150000
labour | labour |  | Welder: W1, roof frame, deck canopy, stair (per unit) | 1 | lot | 600000 | A | AS-21 | 600000
labour | labour |  | Transport Kigali to site (share of 2 truck trips) | 1 | lot | 120000 | A | AS-21 | 120000